**Arkansas Juvenile Treatment Center Facilities**

 **October 2022**

 **Arkansas Juvenile Assessment and Treatment Center**

* The maintenance department performed inspections for all facility buildings.
* All HVAC units were checked and maintained weekly. Air filters changed as needed.
* All generator units were inspected and started weekly.
* Inspected and cleaned mechanical closets weekly. Checked all appropriate equipment.
* Quarterly generator and ATS were inspected and serviced by Clifford Power in July.
* RFP/Summit performed inspections on fire sprinkler systems in July.
* Kitchen equipment was serviced and inspected by Middlebrooks service company in June.

**Mansfield Juvenile Treatment Center**

* The maintenance department completed inspections for all 11 facility buildings.
* All HVAC units were checked and maintained. Air filters changed as needed.
* All generator units inspected and started weekly.
* RFP/Summit performed inspections on all fire sprinkler systems in August.
* Kitchen equipment was serviced and inspected by service company in June.
* Kitchen grease traps were cleaned and inspected in June.

Facility Issues and Projects

* DYS is working with Engineers on Geothermal HVAC Systems. Walk through inspections of all units were completed.

**Harrisburg Juvenile Treatment Center**

* The maintenance department completed inspections for all 7 facility buildings.
* All HVAC units were checked and maintained. Air filters changed as needed.
* All generator units were inspected and started.
* Inspected and cleaned mechanical closets and checked all appropriate equipment.
* Generator and ATS were inspected and serviced by Clifford Power.
* RFP/Summit performed inspections on all fire sprinkler systems in August.
* RFP/Summit conducted the annual inspection on Ansell vent hood systems in kitchen in July.
* Kitchen equipment was serviced and inspected in June.

**Dermott Juvenile Treatment Center**

* The maintenance department performed inspections for all 5 facility buildings.
* HVAC units were checked and maintained. Air filters changed as needed.
* All generator units were inspected and started weekly.
* Inspected and cleaned mechanical closets. Checked all appropriate equipment.
* Quarterly generator and ATS were inspected and serviced by Clifford Power for the in June.
* RFP/Summit performed inspections on all fire sprinkler systems in June.
* RFP/Summit conducted the annual inspection on Ansell vent hood systems in the kitchen in July.

**Lewisville Juvenile Treatment Center**

* The maintenance department performed inspections for all 9 facility buildings.
* HVAC units were checked and maintained weekly. Air filters changed as needed.
* All generator units were inspected and started weekly.
* Quarterly generator and ATS were inspected and serviced by Clifford Power in August.
* RFP/Summit performed facility fire alarm panel/system inspections in June.